## UK_PH_2024
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2024
Sr.No | STN Code | Station me | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [8 empty] | 8.1
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG |  | 7.68 |  |  |  |  | 7.52 |  | 7.73 |  |  |  | 7.56 | [5 empty] | 8.18
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 8.04 | [5 empty] | 7.59 |  | 7.73 |  |  |  | 7.62 | [5 empty] | 8.27
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.93 | [5 empty] | 7.56 |  | 7.82 |  |  |  | 7.59 | [5 empty] | 8.16
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 8.26 | [5 empty] | 7.59 |  | 7.46 |  |  |  | 7.53 | [5 empty] | 8.09
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.78 | [5 empty] | 7.8 |  | 7.96 |  |  |  | 7.68 | [5 empty] | 7.86
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 8.1 | [5 empty] | 7.63 |  | 7.74 |  |  |  | 7.86 | [5 empty] | 7.9
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.8 | 7.61 | 7.5 | 7.61 | 7.43 | 7.6 | 7.97 | 7.8 | 7.63 | 7.8 | 7.82 | 7.8 | 7.89 | 7.88 | 7.65 | 7.85 | 7.91 | 7.73 | 7.94 | 7.92 | 8.31 | 7.98 | 8.14
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh | 7.55 | 7.46 | 7.46 | 7.57 | 7.49 | 7.57 | 7.4 | 7.49 | 7.56 | 7.45 | 7.72 | 7.55 | 7.52 | 7.66 | 7.53 | 7.6 | 7.86 | 7.59 | 7.83 | 7.94 | 8.02 | 7.93 | 8.19
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 8.33 | 7.87 | 8.07 | 7.95 | 7.76 | 7.91 | 8.19 | 8.19 | 7.92 | 8.09 | 7.74 | 8.02 | 7.71 | 7.91 | 7.82 | 7.85 | 7.96 | 7.96 | 7.89 | 8.12 | 8.21 | 7.84 | 8.22
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 7.9 | 7.4 | 8.2 | 8.1 | 7.3 | 7.7 | 8.1 | 8.1 | 7.3 | 7.5 | 7.05 | 7.41 |  | 7.46 |  | 7.23 | 7.31 | 8.2 |  | 8.1 | 8.1 | 7.76 | 7.4
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.5 | 7.6 | 8.1 | 7.6 | 7.1 | 7.9 | 7.8 | 7.4 | 7.6 | 7.3 | 7.04 | 7.56 |  | 7.78 | 7.76 | 7.15 | 8.3 | 7.41 | 7.7 | 7.8 | 7.6 | 7.92 | 7.9
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.6 | 7.4 | 8.2 | 7.2 | 7.2 | 7.9 | 8.4 | 7.1 | 7.8 | 7.4 | 7.12 | 7.71 |  | 7.21 |  | 7.19 | 7.41 | 7.41 |  | 8.1 | 8.2 | 7.36 | 7.4
17 | 5451 | RIVER MANDAKINI AT KEDARTH | [8 empty] | 7.8
18 | 5452 | RIVER ALAKNDA AT BADRITH | [8 empty] | 7.7
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2023
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2023
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [10 empty] | 8.4
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.63 | [5 empty] | 7.6 |  |  |  | 7.8 |  | 7.8 | [5 empty] | 7.81
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 8.02 | [5 empty] | 7.8 |  |  |  | 7.6 |  | 8.2 | [5 empty] | 8.28 | 8.28
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.44 | [5 empty] | 7.65 |  |  |  | 7.4 |  | 8.1 | [5 empty] | 8.15 | 8.15
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.82 | [5 empty] | 7.9 |  |  |  | 7.8 |  | 8.1 | [5 empty] | 7.86
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.96 | [5 empty] | 7.8 |  |  |  | 7.85 |  | 8.3 | [5 empty] | 7.98
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.89 | [5 empty] | 7.84 |  |  |  | 7.5 |  | 8.18 | [5 empty] | 7.95
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.08 | 7.1 | 7.9 | 7.22 | 7.4 | 8.25 | 7.9 | 7.1 | 8.34 | 7.79 | 7.6 | 7.9 | 7.5 | 7.9 | 7.8 | 7.6 | 8.1 | 7.15 | 7.5 | 7.68 | 7.74 | 7.74 | 7.56
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh | 7.14 | 7.36 | 8.1 | 7.29 | 7.6 | 8.2 | 8.1 | 7.3 | 8.45 | 7.97 | 7.4 | 7.8 | 7.6 | 8.1 | 8.03 | 7.9 | 8.35 | 8.35 | 7.92 | 7.76 | 7.91 | 7.98 | 7.81
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.09 | 7.47 | 8.11 | 7.34 | 7.12 | 8.13 | 8.45 | 8.34 | 8.3 | 8.1 | 7.8 | 7.8 | 7.86 | 8.09 | 8.26 | 7.3 | 7.95 | 7.95 | 7.6 | 7.7 | 7.85 | 7.74 | 7.77
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 8.21 | 8.19 | 8.12 | 8.27 | 7.9 | 7.76 | 7.7 | 8.16 | 7.32 | 8.12 | 7.6 | 7.6 | 8.1 | 8.16 | NA | 7.68 | 7.46 | 7.58 | 7.5 | NA | 7.79 | NA | 7.96
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.76 | 7.96 | 7.81 | 8.45 | 7.9 | 7.98 | 8.11 | 8.1 | 7.3 | 8.23 | 7.3 | 7.33 | 8.16 | 8.24 | 7.5 | 7.49 | 7.62 | 7.49 | 7.39 | 7.2 | 7.51 | 7.73 | 7.91
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.72 | 7.75 | 7.68 | 8.3 | 8.2 | 8.14 | 8.2 | 8.2 | 7.7 | 7.69 | 8.2 | 8 | 8.18 | 8.12 | 7.52 | 7.46 | 7.42 | 7.46 | NA | 8.1 | NA | 7.69 | 7.81
17 | 5451 | RIVER MANDAKINI AT KEDARTH | [10 empty] | 8.1
18 | 5452 | RIVER ALAKNDA AT BADRITH | [10 empty] | 7.2
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2022
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2022
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [10 empty] | 7.34
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.41 |  | 7.35 |  |  |  | 7.05 |  | 7.31 |  | 8.1 |  | 7.68 | [5 empty] | 7.54
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7.27 |  | 7.48 |  |  |  | 7.13 |  | 7.31 |  | 7.53 |  | 7.43 | [5 empty] | 8.25
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.39 |  | 7.45 |  |  |  | 7.32 |  | 7.27 |  | 7.6 |  | 7.58 | [5 empty] | 7.5
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.31 |  | 7.46 |  |  |  | 7.11 |  | 7.1 |  | 7.85 |  | 7.69 | [5 empty] | 8.17
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.38 |  | 7.25 |  |  |  | 7.39 |  | 7.36 |  | 8.2 |  | 7.45 | [5 empty] | 8.04
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.43 |  | 7.54 |  |  |  | 7.19 |  | 7.25 |  | 8.23 |  | 7.52 | [5 empty] | 7.95
8 | 20048 | GANGA AT SWARG ASHRAM-1 | 7.45 | 7.3 | 7.7 | 7.75 | 7.3 | 7.55 | 7.72 | 7.49 | 6.96 | 6.62 | 6.61 | 6.56 | 7.31 | 7.2 | 7.08 | 7.7 | 7.62 | 7.85 | 7.68
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.68 | 7.6 | 7.57 | 7.19 | 7.5 | 7.3 | 7.4 | 7.06 | 7.3 | 7.36 | 7.37 | 7.28 | 8.2 | 7.5 | 7.4 | 8.11 | 8.09 | 7.64 | 8.06 | 7.03 | 7.4 | 7.95
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS | 7.1 | 7.43 | 7.6 | 7.61 | 8.1 | 7.59 | 7.31 | 7.19 | 6.84 | 7.21 | 6.58 | 6.71 | 7.53 | 7.63 | 7.15 | 7.55 | 7.4 | 7.35 | 7.49
11 | 10147 | River Ganga D/s Rishikesh | 7.78 | 7.9 | 7.25 | 7.62 | 7.3 | 7.51 | 7.49 | 7.21 | 7.29 | 7.32 | 7.43 | 7.35 | 7.26 | 7.3 | 7.1 | 8.1 | 7.69 | 7.97 | 8.31 | 7.24 | 7.3 | 7.9
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.2 | 7.56 | 8 | 7.6 | 7.9 | 7.09 | 7.8 | 7.42 | 7.24 | 7.21 | 7.36 | 7.41 | 7.57 | 7.65 | 7.4 | 8.23 | 7.9 | 8.11 | 8.4 | 8.05 | 8.23
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 8 | 8.2 | 8.1 | 8.1 | 7.7 | 7.2 | 7.9 | 7.2 | 7.1 | 7.2 | 7.7 | 7.6 | 8.3 | 7.1 | 7.8 | 7.6 | 7.6 |  | 8 | 7.6 | 7.4
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 8.3 | 8 | 8.6 | 8 | 7.5 | 8.3 | 7.5 | 7.6 | 7.5 | 7.7 | 7.6 | 7.7 | 7.9 | 7.3 | 8.1 | 7.9 | 7.6 | 7.9 | 8.2 | 7.8 | 8.2
15 | 20050 | GANGA AT JAGJITPUR | 8.4 | 7.9 | 8.2 | 8.2 | 7.5 | 8.1 | 7.7 | 7.7 | 7.7 | 7.1 | 6.4 | 7.3 | 7.7 | 7.1 | 7.43 | 7.1 | 7.2 | 7.6 | 8 | 7.3
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 8.3 | 7.9 | 7.4 | 7.8 | 7.7 | 7.6 | 7.2 | 7.5 | 7.2 | 7.1 | 7.8 | 8.3 | 8 | 7.4 | 8.4 | 7.5 | 7.6 |  | 8.1 | 7.9 | 7.26
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2021
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2021
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [18 empty] | 7.2
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.2 |  | 7.6 | [7 empty] | 7.65 |  |  |  | 7.72 |  | 7.84 |  | 7.76 |  |  | 7 | 7.05
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7 |  | 7.3 |  | 8.16 | [5 empty] | 7.85 |  |  |  | 8.04 |  | 8.15 |  | 7.88 |  |  | 7.5 | 7.24
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.4 |  | 7.5 |  | 8.18 | [5 empty] | 8.14 |  |  |  | 7.83 |  | 7.9 |  | 7.76 |  |  | 7.2 | 7.1
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.2 |  | 7.7 |  | 7.83 | [5 empty] | 7.41 |  |  |  | 7.45 |  | 7.45 |  | 7.67 | 8.18 | 7.94 | 7.2 | 6.93
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.5 |  | 7.3 |  | 8.14 |  | 7.45 |  | 8.09 |  | 7.9 |  | 8.05 |  | 8 |  | 7.93 |  |  | 7.3 | 7.21
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.4 |  | 7.8 |  | 8.28 |  | 7.72 |  | 8.14 |  | 7.55 |  | 7.91 |  | 8.24 |  | 7.81 |  |  | 7.2 | 7.13
8 | 20048 | GANGA AT SWARG ASHRAM-1 | 7.6 | 7.4 | 7.2 | 7.5 | 8 | 8.2 | 7.66 | 7.63 | 7.38 | 7.34 | 7.55 | 7.6 | 8.25 | 7.9 | 7.74 | 7.53 | 7.8 | 7.94 | 7.52 | 7.1 | 7.74 | 7.65
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.6 | 7.1 | 7.2 | 7.2 | 7.81 | 7.14 | 7.3 | 7.26 | 7.6 | 7.8 | 7.55 | 7.7 | 8.25 | 7.8 | 8.15 | 8.16 | 7.6 | 7.8 | 7.84 | 7.7 | 7.6 | 7.26
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS | 7.6 | 7.6 | 7.1 | 7.1 | 8.01 | 7.8 | 7.8 | 7.52 | 7.1 | 7.2 | 7.8 | 7.6 | 8.32 | 8 | 7.7 | 8.2 | 7.75 | 8.15 | 7.61 | 8 | 7.72 | 7.6
11 | 10147 | River Ganga D/s Rishikesh | 7.5 | 7.4 | 7.4 | 7.7 | 7.9 | 7.53 | 7.56 | 7.68 | 7.94 | 7.05 | 7.8 | 8.16 | 7.8 | 8.12 | 8.15 | 7.64 | 7.87 | 8.24 | 7.9 | 7.63 | 7.16
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.8 | 7.8 | 7.23 | 8 | 8 | 7.7 | 7.96 | 7.96 | 7.9 | 7.6 | 7.05 | 7.4 | 7.4 | 7.7 | 7.95 | 8.02 | 7.75 | 8.16 | 8.3 | 7.9 | 7.6 | 7.11
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 7.3 | 7.9 | 7.6 | 7.75 | 8.2 | 8.33 | 8.33 | 7.36 | 8.22 | 8 | 7.9 | 7.85 | 8.27 | 7.92 | 7.43 | 7.1 |  | 7.8 | 7.9 | 7.5 | 7.2 | 8
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.7 | 7.9 | 7.5 | 7.78 | 8.32 | 8.37 | 8.32 | 7.52 | 7.62 | 8.1 | 7.74 | 7.9 | 8.4 | 7.84 | 7.09 | 7.09 | 7.7 | 6.5 | 7.6 | 7.1 | 8.27 | 7.94
15 | 20050 | GANGA AT JAGJITPUR | 7.7 | 7.1 | 7.7 | 8.28 | 8.38 | 8.25 | 7.43 | 7.76 | 8.1 | 7.72 | 8.14 | 8.14 | 7.54 | 7.07 | 7.83 | 7.8 | 7 | 7.8 | 7.3 | 8.25 | 8.5
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.8 | 7.2 | 6.8 | 7.4 | 8.26 | 8.2 | 7.86 | 7.5 | 7.55 | 8.2 | 7.8 | 7.5 | 7.52 | 8.1 | 7.03 | 6.4 |  | 7.6 | 7.2 | 7.2 | 7.34 | 7.78
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2020
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2020
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [18 empty] | 7.1
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.8 | [15 empty] | 7.4 |  | 7.5 |  |  | 7.5 | 7.8
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7.8 | [15 empty] | 7.6 |  | 7.6 |  |  | 7.3 | 8
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.8 | [15 empty] | 7.6 |  | 7.7 |  |  | 7.4 | 8
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.8 | [5 empty] | 7.5 |  |  |  | 7.3 |  | 7.5 |  | 7.3 |  | 7.2 |  | 7.9 |  |  | 7.8 | 8.1
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.9 | [9 empty] | 7.9 |  | 7.7 |  | 7.8 |  | 7.3 |  | 7.8 |  |  | 7.8 | 8.1
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.8 | [5 empty] | 7.6 |  |  |  | 7.7 |  | 7.6 |  | 7.3 |  | 7.8 |  | 7.7 |  | 7.4 |  | 8
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.7 |  | 7.7 |  | 7.7 |  | 7.8 |  | 7.1 |  | 7.5 |  | 7.9 | 7.5 | 7.8 | 7.8 | 7.8 | 8 | 8.4 | 7.5 |  | 7.2 | 7.6
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh | 7.6 |  | 8 |  | 7.5 |  | 7.5 |  | 8 |  | 7.5 |  | 8 | 7.8 | 7.8 | 7.5 | 7.3 | 8 | 8.3 | 7.4 |  | 7 | 7.6
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.8 |  | 8.4 |  | 7.9 |  | 8.2 |  | 7.7 |  | 8 |  | 7.6 | 7.9 | 8.1 | 8.1 | 8.1 | 8.1 | 7.1 |  | 8 | 7.8
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 7.7 |  | 8 |  | 7.6 |  | 7.5 | 7.9 | 7.9 |  | 7.9 |  | 7.8 | 7.7 | 7.3 | 8 |  | 8 | 7.9 | 7.7 | 7.8 | 7.6
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.1 |  | 7.2 |  | 7.6 |  | 7.7 |  | 8 |  | 7.6 |  | 7.2 |  | 7.7 |  | 8 | 8 | 7.9 | 7.9 | 7.6 | 8 | 8
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.8 |  | 7.6 |  | 6.6 |  | 7.4 |  | 7.9 |  | 7.8 |  | 7.6 |  | 7.6 |  | 8 | 8 | NA | 7.9 | 7.7 | 7.1 | 7.2
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2019
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2019
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.9 | [5 empty] | 7.8 | 7.8 | [10 empty] | 7.8
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7.8 | [5 empty] | 7.6 | 7.6 | [5 empty] | 7.7 |  |  |  |  | 7.7
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.8 | [5 empty] | 7.7 | 7.7 | [5 empty] | 7.8 |  |  |  |  | 7.7
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 8 | [5 empty] | 7.6 | 7.6 | [5 empty] | 7.7 |  |  |  |  | 7.8
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.9 | [5 empty] | 7.6 | 7.6 | [5 empty] | 7.8 |  |  |  |  | 7.8
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 8 | 8 |  |  |  |  | 7.8 | 7.8 | [5 empty] | 7.8 |  |  |  |  | 7.8
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 8 |  | 7.4 |  | 7.4 |  | 7.6 |  | 7.6 |  | 7.6 |  | 7.6 |  | 7.7 |  | 7.4 |  | 8.2 |  | 8.1 | 7.9 | 7.9
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh | 7.9 |  | 7.6 |  | 7.5 |  | 7.6 |  | 7.5 |  |  |  | 7.8 |  | 7.3 |  | 8.2 |  | 7.7 |  | 8 |  | 8
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.9 |  | 7.4 |  | 7.5 |  | 7.5 | 7.5 |  | 7.8 | 7.8 |  | 7.9 |  | 7.8 |  | 8.4 |  | 8.3 |  | 8.2 | 8.2
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 7.9 |  | 7.6 |  | 7.5 |  | 7.5 | 7.5 |  | 8.4 | 8.4 |  | 8.1 |  | 7.7 |  | 8 |  | 8 |  | 8.2 | 8.1
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.9 |  | 7.8 |  | 7.7 |  | 7.7 | 7.7 |  | 7.4 | 7.1 |  | 7.3 |  | 7.5 |  | 8 |  |  |  | 7.5 | 7.7
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 8.1 |  | 7.8 |  | 7.6 | 7.4 | 7.4 | 7.4 | 7.8 | 7.8 | 7.8 | 7.9 | 7.9 |  | 7.6 |  | 7.8 |  | 8.2 |  | 8.3 | 8.2
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2018
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2018
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [8 empty] | 7.1
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.52 | [5 empty] | 7.64 |  | 7 |  |  |  | 7.74
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7.46 | [5 empty] | 7.68 |  | 7.1 |  |  |  | 7.71 | [5 empty] | 7.94
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.61 | [5 empty] | 7.78 |  | 7.2 |  |  |  | 7.68 | [5 empty] | 8.08
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.68 | [5 empty] | 7.68 |  | 7.2 |  |  |  | 7.78 | [5 empty] | 8.21
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.53 | [5 empty] | 7.71 |  | 7.2 |  |  |  | 7.83 | [5 empty] | 8.12
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.58 | [5 empty] | 7.58 |  | 7.2 |  |  |  | 7.88 | [5 empty] | 7.98
8 | 20048 | GANGA AT SWARG ASHRAM-1 | 7.38 |  | 7.48 |  | 7.45 |  | 7.38 |  | 7.36 |  | 7.63 |  | 7.38 |  | 7.28 |  | 7.35 |  | 7.48 | 7.48 | 7.36 | 7.36 | 7.28
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.38 |  | 7.82 |  | 7.32 |  | 7.48 |  | 7.5 |  | 7.5 |  | 7.4 |  | 7.45 |  | 7.56 |  | 7.62 |  | 7.68 | 7.62 | 7.71
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS | 7.65 |  | 7.8 |  | 7.68 |  | 7.74 |  | 7.65 |  | 7.74 |  | 7.67 |  | 7.68 |  | 7.83 |  | 7.88 | 7.88 | 7.94 | 7.94 | 7.76
11 | 10147 | River Ganga D/s Rishikesh | 7.54 |  | 7.74 |  | 7.52 |  | 7.56 |  | 7.52 |  | 7.6 |  | 7.38 |  | 7.48 |  | 7.42 |  | 7.85 |  |  | 7.76 | 7.82
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.52 |  | 7.84 |  | 7.54 |  | 7.55 |  | 7.48 |  | 7.6 |  | 7.68 |  | 7.62 |  | 7.84 |  | 7.75 |  |  | 7.82 | 7.89
13 | 10148 | River Ganga at Har-ki-pauri Ghat | 7.89 |  | 8.14 |  | 7.57 |  | 7.56 |  | 7.62 |  | 7.9 |  | 7.42 |  | 8.04 |  | 8.24 |  | 8.18 |  | 8.4 | 8.17
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.76 |  | 7.74 |  | 7.69 |  | 7.72 |  | 7.68 |  | 7.9 |  | 7.67 |  | 8.04 |  | 8.29 |  | 8.21 |  | 7.8 | 8.1
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.93 |  | 7.87 |  | 7.69 |  | 7.64 |  | 7.81 |  | 8 |  | 7.71 |  | 8.27 |  | 8.12 |  | 8.06 |  | 8.23
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2017
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2017
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [16 empty] | 7.1
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.54 | [5 empty] | 7.64 | [5 empty] | 7.74 |  |  |  |  | 7 | 7.68
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7.52 | [5 empty] | 7.74 | [5 empty] | 7.71 |  |  |  |  | 7.1 | 7.72
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.67 | [11 empty] | 7.82 |  |  |  |  | 7.64 | 7.72
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.61 | [5 empty] | 7.72 | [5 empty] | 7.78 |  |  |  |  | 7.1 | 7.74
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.52 | [5 empty] | 7.82 | [9 empty] | 7.83 |  | 7.75
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.62 | [5 empty] | 7.64 | [5 empty] | 7.88 | [5 empty] | 7.62
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.42 |  | 7.19 |  | 7.36 |  | 7.61 |  | 7.02 |  | 7.18 |  | 7.45 |  | 7.56 |  | 7.48 |  | 7.84 |  | 7.64 | 7.42
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh |  |  |  |  | 7.42 |  | 7.52 |  | 7.41 |  | 7.38 |  | 7.42 |  | 7.51 |  | 7.69 |  | 7.45 |  | 7.51
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.51 |  | 7.64 |  | 7.62 |  | 7.56 |  | 7.21 |  | 6.98 |  | 7.58 |  | 7.62 |  | 7.58 |  | 7.56 |  | 7.66 | 7.54
13 | 10148 | River Ganga at Har-ki-pauri Ghat |  |  |  |  | 7.6 |  | 7.51 |  | 6.98 |  | 7.12 | [9 empty] | 7.59 | 7.43
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.68 |  | 7.82 |  | 7.9 |  | 7.8 |  | 6.85 |  | 7.21 |  | 7.67 |  | 7.76 |  | 7.46 |  | 7.54 |  | 7.42 | 7.38
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.56 |  | 7.81 |  | 7.8 |  | 7.58 |  | 7.48 |  | 7.42 |  | 7.71 |  | 8.21 |  | 7.75 |  |  |  | 7.65 | 7.54
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2016
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2016
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI | [6 empty] | 7.6
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | 7.54 | [5 empty] | 7.62 | [5 empty] | 7.42 | [5 empty] | 7.86
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | 7.48 | [5 empty] | 7.8 | [5 empty] | 7.61 | [5 empty] | 7.86
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | 7.67 | [5 empty] | 7.82 | [5 empty] | 7.54 | [5 empty] | 8.12
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | 7.72 | [5 empty] | 7.89 | [5 empty] | 7.61 | [5 empty] | 7.84
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | 7.52 | [5 empty] | 7.68 | [5 empty] | 7.46 | [5 empty] | 7.82
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | 7.62 | [5 empty] | 7.62 | [5 empty] | 7.52 | [5 empty] | 7.65
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.42 |  | 7.82 |  | 7.32 |  | 7.42 |  | 7.64 |  | 7.34 |  | 7.64 |  | 7.51 |  | 7.32 |  | 7.32 |  |  | 7.24 | 7.23
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.5 |  | 7.56 |  | 7.42 |  | 7.65 |  | 7.52 |  | 7.43 |  | 7.71 |  | 7.62 |  | 7.6 |  | 7.72 |  |  | 7.56
13 | 10148 | River Ganga at Har-ki-pauri Ghat
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.68 |  | 7.64 |  | 7.82 |  | 6.3 |  | 7.62 |  | 7.46 |  | 7.78 |  | 7.71 |  | 7.82 |  | 7.52 |  | 7.46 | 7.82
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.52 |  | 7.82 |  | 7.58 |  | 7.48 |  | 7.82 |  | 7.78 |  | 7.71 |  | 7.81 |  | 7.62 |  | 7.65 |  | 7.64
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2015
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2015
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | [12 empty] | 7.92 | [5 empty] | 8
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | [12 empty] | 7.73 | [5 empty] | 8
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | [12 empty] | 7.94 | [5 empty] | 8.1
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | [12 empty] | 8.5 | [5 empty] | 8.2
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | [12 empty] | 8.02 | [5 empty] | 8.1
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | [12 empty] | 8.07 | [5 empty] | 8
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.12 |  | 7.64 |  | 7.6 |  | 7.82 |  | 7.64 |  | 7.5 |  | 7.67 |  | 7.46 |  | 7.5 |  | 7.61 |  | 7.81
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.45 |  | 7.68 |  | 7.5 |  | 7.86 |  | 7.83 |  | 7.56 |  | 7.64 |  | 7.75 |  | 7.43 |  |  |  | 7.42 |  | 7.82
13 | 10148 | River Ganga at Har-ki-pauri Ghat
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | [17 empty] | 7.84 | 8.24 | 8.24 | 7.85 | 7.82 | 8.17
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 8.05 |  |  |  | 7.32 | [5 empty] | 8.12 |  | 8.04 |  | 7.91 |  | 7.53 |  | 8.23 |  | 7.74 |  | 7.64
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR

## UK_PH_2014
Manual Water Quality Monitoring Stations data : Uttarakhand PH Year 2014
Sr.No | STN Code | Station Name | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26
1 | 1491 | BHAGIRATHI AT GANGOTRI
2 | 1485 | MANDAKINI B/C ALAKNDA AT RUDRAPRAYAG | [6 empty] | 8 | [5 empty] | 8.01 | [5 empty] | 8.24
3 | 1484 | ALAKNDA B/C MANDAKINI AT RUDRA PRAYAG | [12 empty] | 7.96 | [5 empty] | 8.2
4 | 1486 | ALKANDA A/C MANDAKINI AT RUDRAPRAYAG | [6 empty] | 7.8 | [5 empty] | 7.99 | [5 empty] | 8.21
5 | 1488 | BHAGIRATHI B/C WITH ALAKNDA AT DEVPRAYAG | [6 empty] | 8.2 | [5 empty] | 7.92 | [5 empty] | 8.24
6 | 1487 | ALAKNDA B/C TO BHAGIRATHI AT DEVPRAYAG | [6 empty] | 8.12 | [5 empty] | 7.84 | [5 empty] | 8.22
7 | 1489 | ALAKNDA A/C WITH BHAGIRATHI AT DEVPRAYAG | [6 empty] | 7.9 | [5 empty] | 8.21 | [5 empty] | 8.02
8 | 20048 | GANGA AT SWARG ASHRAM-1
9 | 1060 | GANGA AT RISHIKESH U/S, | 7.53 |  | 7.69 |  | 7.86 |  | 7.97 |  | 7.86 |  | 7.93 |  | 7.84 |  | 7.81 |  | 7.31 |  | 7.47 | 7.59
10 | 20049 | GANGA AT LAKKAR GHAT - OXIDATION PONDS
11 | 10147 | River Ganga D/s Rishikesh
12 | 2725 | GANGA RIVER AFTER CONFLUENCE OF RIVER SONG NEAR SATYARAYAN TEMPLE D/S RAIWALA, DEHRADUN | 7.5 |  | 7.71 |  | 7.93 |  | 7.92 |  | 7.68 |  | 7.65 |  | 7.69 |  | 8.7 |  | 7.82 |  |  |  | 7.6 |  | 7.47
13 | 10148 | River Ganga at Har-ki-pauri Ghat
14 | 1061 | GANGA AT HARIDWAR D/S, Upper Ganga Cal D/S Balkumari Mandir, Ajeetpur, Haridwar | 7.74 |  | 7.71 |  | 7.66 |  | 7.65 |  | 7.63 |  | 6.3 |  | 7.58 |  | 7.63 |  | 7.51
15 | 20050 | GANGA AT JAGJITPUR
16 | 2727 | GANGA AT UPPER GANGA RIVER D/S ROORKEE, HARIDWAR | 7.68 |  | 7.69 |  | 8.09 |  | 7.15 |  | 7.58 |  | 7.91 |  | 7.64 |  | 7.64 | [6 empty] | 7.57 | 7.64
17 | 5451 | RIVER MANDAKINI AT KEDARTH
18 | 5452 | RIVER ALAKNDA AT BADRITH
19 | 5776 | RIVER GANGA AT SWARG ASHRAM, RISHIKESH
20 | 5777 | RIVER GANGA NEAR VISTHAPHIT COLONY, RISHIKESH
21 | 3997 | RIVER GANGA U/S AT ABINDUGHAT, DUDHIYABAD, HARIDWAR
22 | 5778 | RIVER GANGA NEAR BISHANPUR KUNDI, HARIDWAR